## Sheet1
Test | Target (catalog/images/...) | Science goal | Link, reference | Author | Needs reference data or sims | Notes
Readiness | Catalog | General | https://github.com/LSSTDESC/descqa/blob/master/descqa/readiness_test.py | DESCQA | No | Needs review, adaptation to final format, eliminate truth dependencies
(Cumulative Galaxy Nb Density) | Catalog | General | TBD | DESCQA | Yes (HSC) | Section 4.2 of CosmoDC2 validation paper, cumulative number per steradian as a function of magnitude
(Redshift Distribution) | Catalog | PZ | TBD | DESCQA | Maybe (DEEP2, HSC, maybe simply adequacy of exponential law) | Section 4.3 of CosmoDC2 validation paper, histogram of N(z); note that we would be using Rubin's photo-zs, DOES THIS HAVE CLEAR UTILITY?
ColorDistribution | Catalog | General | https://github.com/LSSTDESC/descqa/blob/master/descqa/ColorDistribution.py | DESCQA | Yes (ref. colors) | KS 1D checks vs reference from other data
PositionAngle | Catalog | General | https://github.com/LSSTDESC/descqa/blob/master/descqa/PositionAngle.py | DESCQA | No
SizeDistribution | Catalog | General | https://github.com/LSSTDESC/descqa/blob/master/descqa/SizeDistribution.py | DESCQA | No
CheckAstroPhoto | Catalog | General | https://github.com/LSSTDESC/descqa/blob/master/descqa/CheckAstroPhoto.py | DESCQA | Maybe for astrometric residuals -- does catalog matching with the reference, i.e., needs reference catalog | We can use the photo part to check internal consistency between magnitude measurements
CheckColors | Catalog | General | https://github.com/LSSTDESC/descqa/blob/master/descqa/CheckColors.py | DESCQA | Yes (ref. colors) | 2D color distribution vs reference from other data
ColorRedshiftTest | Catalog | General | https://github.com/LSSTDESC/descqa/blob/master/descqa/ColorRedshiftTest.py | DESCQA | No; option to compare to DES data | Red sequence test
EllipticityDistribution | Catalog | General | https://github.com/LSSTDESC/descqa/blob/master/descqa/EllipticityDistribution.py | DESCQA | No; displays COSMOS data | Eve K: careful with definitions
Angular 2pt correlation function | Catalog | LSS | TBD | DESCQA | Yes (ref. w(theta)) | Potentially slow, SPOILS BLINDING
(luminosity, halo, richness tests, shear, bias) | Catalog | Various | Various | DESCQA |  | THESE ARE SCIENCE-LEVEL TESTS, OR REQUIRE UNKNOWN INFO
Number counts + turnaround depth | Catalog | General | New (similar to ApparentMagFunc in DESCQA) |  | No
Star/galaxy ratio | Catalog | General | New |  | No | As a function of magnitude (i)
Astrometric residuals | Catalog | General | DC2 validation github | Javi | Needs reference catalog | Truth is sim or Gaia, coadd pending -- duplicate in CheckAstroPhoto
Photometric residuals | Catalog | General | DC2 validation github | Javi | Needs reference catalog | Truth is sim or photometric standards, coadd pending -- duplicate in CheckAstroPhoto
SGQ separation | Catalog | General | New | TBD | Needs reference catalog | Truth is sim or space-based or infrared
Depth (several ways) | Catalog | General | DC2 validation/supreme | Javi/Eli |  | The proper way to run this is slow, Rubin will do some of this
General statistics, and after flags cuts | Catalog | General | https://lsst.lal.in2p3.fr/lalwiki/LSS/DpddObjectCatalogRun2 | TBD
Stellar obscuration | Catalog | General | (in Nacho's branch) | Nacho
Density vs SP maps | Catalog | LSS | (in Nacho's branch) | Nacho, Javi, Zilong
PSF ellipticity | Catalog | General | DC2 validation github | Javi
Color color diagrams | Catalog | General | DC2 validation github | Michael
Density of objects in RA/DEC | Catalog | General | DC2 validation github | Michael
Plot shape parameters | Catalog | General | DC2 validation github | Michael
Test on SP maps | Catalog | LSS |  | Javi |  | Check previous work with HSC
Photo-z bias | Catalog | PZ | RAIL | RAIL, Zilong
Photo-z s68 | Catalog | PZ | RAIL | RAIL, Zilong
Photo-z outliers | Catalog | PZ | RAIL | RAIL, Zilong
PSF size (T or FWHM) vs magnitude | Catalog | WL mostly | DC2 analysis + sims_ci_pipe | Javi/Jim C.
zeropoint uniformity, photometric repeatability, etc | Catalog | General | Likely in faro
Recovered Supernova lightcurve check | Lightcurves | SN | https://nbviewer.org/github/LSSTDESC/DC2-analysis/blob/rendered/tutorials/dia_sn_vs_truth.ipynb | DC2-analysis
Physical vs observable galaxy properties | Catalog | General | https://nbviewer.org/github/LSSTDESC/DC2-analysis/blob/rendered/contributed/Observation_vs_galaxy.nbconvert.ipynb | DC2-analysis |  | The idea is checking whether there is some correlation between an observational and physical property in galaxies which shouldn't be there
Overdensity around bright objects | Catalog | LSS | https://drive.google.com/file/d/13aREYATGKgak9nTst2-uWLe2DV2DJ-hW/view
S/N of 20th mag synthetic objects | Image | SN | (was done in DES) | Rick |  | Compare vs analytical expectation
Depth and template homogeneity | Catalog | SN | https://portal.lsst-desc.org/DESCPub/app/PB/pub/show_publication?pubid=83
Efficiency of DIA SN id | Catalog | SN | https://portal.lsst-desc.org/DESCPub/app/PB/pub/show_publication?pubid=83
Visual inspection (general) | Image | General
Visual inspection (weird samples) | Image | General
Pending below (in gray)
Synthetic source injection tests | Image/catalog | Various |  | Several authors
Stack Club examples | Image/catalog | Various |  | Several authors
DC2 higher level analyses | Image/catalog | Various |  | Several authors
Catalog/dataset inspection | Catalog/dataset | General |  |  | Do we have everything we need from the data release?

## Rubin faro tests
Test | Test type | Target (catalog/images/...) | Test Summary | Link, reference | Currently Implimented in Faro
| Astrometry |  |  | https://docushare.lsst.org/docushare/dsweb/Get/LPM-17 |  | All current implimentations can be found here: https://github.com/lsst/faro/tree/master/python/lsst/faro/utils
AA1 |  | patch/tract catalog | Median absolute astrometric error | DMS-REQ-0360,OSS-REQ-0153 | No
AM1/2/3 |  | patch/tract catalog | Median relative astrometric measurement error on 5/20/200 arcminute scales | DMS-REQ-0360,OSS-REQ-0387 | Yes
AD1/2/3 |  | patch/tract catalog | Outlier limit for 5/20/200 arcmin scales | DMS-REQ-0360,OSS-REQ-0387 | Yes
AF1/2/3 |  | patch/tract catalog | Fraction of sources excceding an outlier limit | DMS-REQ-0360,OSS-REQ-0387 | Yes
AB1/AB2 |  | patch/tract catalog | RMS difference/outlier limit between separations in r-band and any other filter | DMS-REQ-0360,OSS-REQ-0387 | No
ABF1 |  | patch/tract catalog | RMS difference between separations measured in the r-band and those measured in any other filter. |  | No
| Photometry | patch/tract catalog
PA1uzy/gri |  | patch/tract catalog | The RMS photometric repeatability of bright non-saturated unresolved point sources in the uzy/gri filters | DMS-REQ-0359,OSS-REQ-0388 | Yes
PA2uzy/gri |  | patch/tract catalog | Repeatability outlier limit for isolated bright non-saturated point sources in the uzy/gri filters. | DMS-REQ-0359,OSS-REQ-0388 | Yes
PA3/3u |  | patch/tract catalog | RMS width of internal photometric zero-point across the sky | DMS-REQ-0359,OSS-REQ-0388 | No
PA4 |  | patch/tract catalog | The zero point error outlier limit. | DMS-REQ-0359,OSS-REQ-0388 | No
PA5/5u |  | patch/tract catalog | Accuracy of absolute band-to-band color zero-point for all colors constructed from any filter pair | DMS-REQ-0359,OSS-REQ-0388 | No
PA6 |  | patch/tract catalog | Accuracy of the transformation of the internal LSST photometry to a physical scale (e.g. AB mag) | DMS-REQ-0359,OSS-REQ-0388 | No
PF1 |  | patch/tract catalog | The maximum fraction of isolated nonsaturated point source measurements exceeding the outlier limit. | DMS-REQ-0359,OSS-REQ-0388 | Yes
PF2 |  | patch/tract catalog | Fraction of zeropoint errors that can exceed the zero point error outlier limit | DMS-REQ-0359,OSS-REQ-0388 | No
| PSF Modeling | patch/tract catalog
TE1/2 |  | patch/tract catalog | Maximum full-survey median for residual ellipticity correlations at scales less than or equal to 1/5 arcmin. | DMS-REQ-0362 | Yes
TE3/4 |  | patch/tract catalog | Per-image limit on the median residual ellipticity correlations at scales less than 5 arcmin (and greater than 5 arcmin). | DMS-REQ-0362 | No
TEF |  | patch/tract catalog | Maximum fraction of visit images that may exceed the TE3 or TE4 limits. | DMS-REQ-0362 | No
Instrument signatures/scattered light
PixFrac |  | CCD | The maximum fraction of pixels scientifically unusable per sensor out | DMS-REQ-0359,OSS-REQ-0387 | Yes
SensorFrac |  | CCD | The maximum allowable fraction of sensors with PixFrac scientifically unusable pixels. | DMS-REQ-0359,OSS-REQ-0387 | Yes
SBPrec |  | image | The maximum error in the precision of the sky brightness determination | DMS-REQ-0359,OSS-REQ-0387 | No
GhostAF |  | image | Percentage of image area that can have ghosts with surface brightness gradient amplitude of more than 1/3 of the sky noise over 1 arcsec. | DMS-REQ-0359,OSS-REQ-0387 | No
XTalk |  | CCD | The maximum local significance integrated over the PSF of imperfect crosstalk corrections. | DMS-REQ-0359,OSS-REQ-0387 | Yes
The below reqirements are a little higher level, and will not be run in every faro run, but are good to know about I think, and are likely to still be implimented in Faro
falseDeepDetect |  | Images | False detection fraction on deep coadds due to unremoved and instrumental artifacts will be < 0.1% of sources | OSS-REQ-0157 | No
Deep Detection and Measurement Quality |  | catalog | The Object catalog shall include shape measurements that permit the recovery of constant applied shears between 0.01 and 0.05 from an ensemble of isolated galaxies, with a multiplicative bias less than 0.001 and additive biases less than 0.0001. | OSS-REQ-0161 | No
Object Deblending |  | catalog | The Observatory shall be capable of measuring properties of overlapping (blended) objects. | OSS-REQ-0155 | No
Catalog Completeness and Reliability |  | catalog | The object catalog completeness and reliability shall be determined by the data management system for a variety of astrophysical objects to be specified by the LSST Project Science Team by the start of science validation activities at the end of commissioning. This is likely to use both refcats and synthetic injection. | OSS-REQ-0164 | No